## BID-PROPOSAL FORM
PROCUREMENT MANAGEMENT DEPARTMENT BID/PROPOSAL FORM
ADDENDUM #5
COMPANY NAME:
SOLICITATION: | B250022KLB - Three Oaks Parkway Extension - Phase 2 Construction with Daniels Parkway Widening
Having carefully examined the Contract Documents, Contractor/Vendor proposes to furnish the following which meeting these specifications.
PRICING Pricing shall be inclusive of all labor, equipment, supplies, overhead, profit, material, and any other incidental costs required to perform and complete all work as specified in the Contract Documents. All Unit Prices will be bid at the nearest whole penny. The Excel document contains formulas for convenience, however it is the Contractor’s/Vendor's responsibility to verify all pricing and calculations are CORRECT. Lee County is not responsible for errors in formulas or calculations contained within Excel document(s). In the event there is a discrepancy between a subtotal or total amount and the unit prices and extended amounts, the unit prices will prevail and the corrected extension(s) and total(s) will be considered the price. The County will only accept bids submitted on bid forms provided by the County. Bids submitted on other forms, other than those provided by the County, will be deemed non-responsive and ineligible for award. **Bidders may not adjust or modify County-authored data as provided within the Bid Schedule. Bids received with modified data may deem the Bidder as non-responsive and ineligible for award.** PLEASE ENSURE you have provided a printed copy of the Bid Schedule with your hard copy submission packages and provided the excel version with your digital submission package.
B250022KLB - Three Oaks Parkway Extension - Phase 2 Construction with Daniels Parkway Widening
SECTION 0000 THREE OAKS PKWY PHASE 2 + DANIELS PKWY - GENERAL
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
101 1 | MOBILIZATION | LS | 1 | 0 | 0
102 1 | MAINTENANCE OF TRAFFIC | LS | 1 | 0 | 0
SUBTOTAL: SECTION 0000 |  |  |  |  | 0
SECTION 0001 THREE OAKS PKWY PHASE 2 + DANIELS PKWY - SIGNALIZATION AND ITS
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | LF | 10851 | 0 | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | LF | 2762 | 0 | 0
632-7-1 | SIGNAL CABLE- NEW OR RECONSTRUCTED INTERSECTION, FURNISH & INSTALL | PI | 4 | 0 | 0
632-7-6 | SIGNAL CABLE, REMOVE- INTERSECTION | PI | 2 | 0 | 0
633-1-121 | FIBER OPTIC CABLE, F&I, UNDERGROUND,2-12 FIBERS | LF | 905 | 0 | 0
633-1-123 | FIBER OPTIC CABLE, F&I, UNDERGROUND,49-96 FIBERS | LF | 30350 | 0 | 0
633-1-620 | FIBER OPTIC CABLE, REMOVE, UNDERGROUND | LF | 4443 | 0 | 0
633-2-31 | FIBER OPTIC CONNECTION, INSTALL, SPLICE | EA | 174 | 0 | 0
633-2-32 | FIBER OPTIC CONNECTION, INSTALL, TERMINATION | EA | 72 | 0 | 0
633-3-11 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE ENCLOSURE | EA | 6 | 0 | 0
633-3-12 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE TRAY | EA | 5 | 0 | 0
633-3-13 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED CONNECTOR ASSEMBLY | EA | 5 | 0 | 0
633-3-14 | FIBER OPTIC CONNECTION HARDWARE, F&I, BUFFER TUBE FAN OUT KIT | EA | 5 | 0 | 0
633-3-15 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED PATCH PANEL | EA | 5 | 0 | 0
633-3-17 | FIBER OPTIC CONNECTION HARDWARE, F&I, CONNECTOR PANEL | EA | 5 | 0 | 0
635-2-12 | PULL & SPLICE BOX, F&I, 24" X 36" COVER SIZE | EA | 14 | 0 | 0
635-2-13 | PULL & SPLICE BOX, F&I, 30" X 60" RECTANGULAR | EA | 16 | 0 | 0
635-2-14 | PULL & SPLICE BOX, F&I, 17" X 30" COVER SIZE | EA | 121 | 0 | 0
639-1-122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR | AS | 5 | 0 | 0
639-1-610 | ELECTRICAL POWER SERVICE, REMOVE OVERHEAD | AS | 2 | 0 | 0
639-2-1 | ELECTRICAL SERVICE WIRE, FURNISH & INSTALL | LF | 869 | 0 | 0
639-2-6 | ELECTRICAL SERVICE WIRE, REMOVE | LF | 100 | 0 | 0
639-3-11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE MOUNT | EA | 5 | 0 | 0
641-2-11 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II PEDESTAL | EA | 5 | 0 | 0
641-2-80 | PRESTRESSED CONCRETE POLE, COMPLETE POLE REMOVAL- POLE 30' AND GREATER | EA | 8 | 0 | 0
646-1-11 | ALUMINUM SIGNALS POLE, PEDESTAL | EA | 26 | 0 | 0
646-1-12 | ALUMINUM SIGNALS POLE, FURNISH & INSTALL PEDESTRIAN DETECTOR POST | EA | 1 | 0 | 0
646-1-60 | ALUMINUM SIGNALS POLE, REMOVE | EA | 11 | 0 | 0
649-21-6 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 50' | EA | 2 | 0 | 0
649-21-10 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 60' | EA | 3 | 0 | 0
649-21-15 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 70' | EA | 2 | 0 | 0
649-21-21 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 78' | EA | 2 | 0 | 0
649-21-25 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, DOUBLE ARM 78'-60 | EA | 2 | 0 | 0
649-21-142 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 85' | EA | 1 | 0 | 0
649-21-143 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, DOUBLE ARM 85'-70 | EA | 2 | 0 | 0
650-1-14 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 3 SECTION, 1 WAY | AS | 61 | 0 | 0
650-1-16 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 4 SECTION, 1 WAY | AS | 4 | 0 | 0
650-1-18 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 5 SECTION STRAIGHT, 1 WAY | AS | 8 | 0 | 0
653-1-11 | PEDESTRIAN SIGNAL, FURNISH & INSTALL LED COUNTDOWN, 1 WAY | AS | 24 | 0 | 0
653-1-12 | PEDESTRIAN SIGNAL, FURNISH & INSTALL LED COUNTDOWN, 2 WAYS | AS | 3 | 0 | 0
654-2-17 | MIDBLOCK CROSSWALK: RECTANGULAR RAPID FLASHING BEACON, FURNISH/INSTALL- AC, SIGN ASSY- SINGLE DIR ACCESSIBLE DETECTOR | AS | 12 | 0 | 0
660-1-111 | LOOP DETECTOR INDUCTIVE, F&I, TYPE 11 | EA | 27 | 0 | 0
660-2-102 | LOOP ASSEMBLY, F&I, TYPE B | AS | 25 | 0 | 0
660-2-106 | LOOP ASSEMBLY, F&I, TYPE F | AS | 65 | 0 | 0
660-4-11 | VEHICLE DETECTION SYSTEM- VIDEO, FURNISH & INSTALL CABINET EQUIPMENT | EA | 1 | 0 | 0
660-4-12 | VEHICLE DETECTION SYSTEM- VIDEO, FURNISH & INSTALL ABOVE GROUND EQUIPMENT | EA | 1 | 0 | 0
660-6-121 | VEHICLE DETECTION SYSTEM- AVI, BLUETOOTH, FURNISH & INSTALL, CABINET EQUIPMENT | EA | 1 | 0 | 0
660-6-122 | VEHICLE DETECTION SYSTEM- AVI, BLUETOOTH, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT | EA | 1 | 0 | 0
660-6-432 | VEHICLE DETECTION SYSTEM- AVI, LICENSE PLATE, RELOCATE, ABOVE GROUND EQUIPMENT | EA | 1 | 0 | 0
665-1-12 | PEDESTRIAN DETECTOR, FURNISH & INSTALL, ACCESSIBLE | EA | 31 | 0 | 0
670-5-110 | TRAFFIC CONTROLLER ASSEMBLY, F&I, NEMA, ATCC | AS | 4 | 0 | 0
670-5-600 | TRAFFIC CONTROLLER ASSEMBLY, REMOVE CONTROLLER WITH CABINET | AS | 2 | 0 | 0
682-1-133 | ITS CCTV CAMERA, F&I, DOME ENCLOSURE - NON-PRESSURIZED, IP, HIGH DEFINITION | EA | 4 | 0 | 0
682-1-600 | ITS CCTV CAMERA, REMOVE & DISPOSAL | EA | 1 | 0 | 0
684-1-1 | MANAGED FIELD ETHERNET SWITCH, FURNISH & INSTALL | EA | 5 | 0 | 0
685-1-14 | UNINTERRUPTIBLE POWER SUPPLY, FURNISH AND INSTALL, ONLINE/DOUBLE CONVERSION WITH CABINET | EA | 4 | 0 | 0
700-3-201 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, UP TO 12 SF | EA | 13 | 0 | 0
700-3-202 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, 12-20 SF | EA | 9 | 0 | 0
700-3-203 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, 21-30 SF | EA | 6 | 0 | 0
715-5-32 | LUMINAIRE & BRACKET ARM- GALV STEEL, FURNISH & INSTALL NEW LUMINAIRE AND ARM ON NEW/EXISTING POLE | EA | 12 | 0 | 0
SUBTOTAL: SECTION 0001 |  |  |  |  | 0
SECTION 0002 THREE OAKS PKWY PHASE 2+ DANIELS PKWY - LIGHTING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | LF | 14201 | 0 | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | LF | 1692 | 0 | 0
635-2-14 | PULL & SPLICE BOX, F&I, 17" X 30" COVER SIZE | EA | 52 | 0 | 0
639-1-122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR FROM POWER COMPANY | AS | 3 | 0 | 0
639-3-11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE MOUNT | EA | 3 | 0 | 0
641-2-12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE | EA | 6 | 0 | 0
715-1-12 | LIGHTING CONDUCTORS, F&I, INSULATED, NO. 8 TO NO. 6 | LF | 52704 | 0 | 0
715-61-300 | LIGHT POLE COMPLETE, F&I, STANDARD POLE STANDARD FOUNDATION, 40' MOUNTING HEIGHT, 0' ARM LENGTH | EA | 107 | 0 | 0
715-69-000 | LIGHT POLE COMPLETE, REMOVE POLE AND FOUNDATION | EA | 4 | 0 | 0
715-7-11 | LOAD CENTER, F&I, SECONDARY VOLTAGE | EA | 3 | 0 | 0
715-500-1 | POLE CABLE DISTRIBUTION SYSTEM, CONVENTIONAL | EA | 107 | 0 | 0
SUBTOTAL: SECTION 0002 |  |  |  |  | 0
SECTION 0003 THREE OAKS PKWY PHASE 2- ROADWAY
104-11 | TURBIDITY BARRIER (FLOATING) | LF | 800 | 0 | 0
104-10-3 | SEDIMENT BARRIER - SILT FENCE STAKED (TYPE III) | LF | 10100 | 0 | 0
104-18 | INLET PROTECTION SYSTEM | EA | 74 | 0 | 0
104-15 | SOIL TRACKING PREVENTION DEVICE | EA | 3 | 0 | 0
104-100 | NPDES POLLUTION CONTROL | LS | 1 | 0 | 0
107-2 | MOWING (11.8 AC x 36 CYCLES) | AC | 425 | 0 | 0
110-1-1 | CLEARING AND GRUBBING | AC | 26.84 | 0 | 0
110-4-10 | REMOVAL OF EXISTING CONCRETE | SY | 510 | 0 | 0
120-1 | EXCAVATION REGULAR | CY | 91204 | 0 | 0
120-4 | SUBSOIL EXCAVATION | CY | 15000 | 0 | 0
120-6 | EMBANKMENT (ON SITE) - IN PLACE | CY | 76965 | 0 | 0
160-4 | STABILIZATION TYPE B (12") | SY | 40378 | 0 | 0
285-704 | OPTIONAL BASE (BASE GROUP #04) | SY | 308 | 0 | 0
285-709 | OPTIONAL BASE (BASE GROUP #09) | SY | 30785 | 0 | 0
327-70-6 | MILLING EXIST ASPH PAVT (1.5" AVG DEPTH) | SY | 2478 | 0 | 0
334-1-13 | SUPERPAVE ASPHALTIC CONCRETE, TYPE SP-12.5 (2.5") | TN | 4232.9 | 0 | 0
337-7-83 | SUPERPAVE ASPHALTIC CONCRETE, TRAFFIC C, FC-12.5, PG 76-22 (1.5") | TN | 2744.2 | 0 | 0
339-1 | MISCELLANEOUS ASPHALT PAVEMENT | TN | 25.4 | 0 | 0
350-30-13 | CONCRETE PAVEMENT FOR ROUNDABOUT (12" DEPTH) | SY | 298 | 0 | 0
400-0-11 | GRAVITY WALL | LF | 100 | 0 | 0
425-11 | MODIFY EXISTING DRAINAGE STRUCTURE | EA | 2 | 0 | 0
425-1-351 | INLETS (CURB) (TYPE P-5) (<10') | EA | 17 | 0 | 0
425-1-352 | INLETS (CURB) (TYPE P-5) (>10') | EA | 3 | 0 | 0
425-1-361 | INLETS (CURB) (TYPE P-6) (<10') | EA | 12 | 0 | 0
425-1-362 | INLETS (CURB) (TYPE P-6) (>10') | EA | 1 | 0 | 0
425-1-451 | INLETS (CURB) (TYPE J-5) (<10') | EA | 3 | 0 | 0
425-1-452 | INLETS (CURB) (TYPE J-5) (>10') | EA | 2 | 0 | 0
425-1-461 | INLETS (CURB) (TYPE J-6) (<10') | EA | 1 | 0 | 0
425-1-462 | INLETS (CURB) (TYPE J-6) (>10') | EA | 4 | 0 | 0
425-1-521 | INLETS (TYPE C) (DITCH BOTTOM) (<10') | EA | 5 | 0 | 0
425-1-551 | INLETS (TYPE E) (DITCH BOTTOM) (<10') | EA | 1 | 0 | 0
425-1-553 | INLETS (TYPE E W/ J BOTTOM) (DITCH BOTTOM) (<10') | EA | 2 | 0 | 0
425-1-554 | INLETS (TYPE E W/ J BOTTOM) (DITCH BOTTOM) (>10') | EA | 2 | 0 | 0
425-1-559 | INLETS (TYPE E) (DITCH BOTTOM) (MODIFIED) | EA | 1 | 0 | 0
425-2-61 | MANHOLE (TYPE P-8) (<10') | EA | 1 | 0 | 0
425-2-71 | MANHOLE (TYPE J-7) (<10') | EA | 1 | 0 | 0
425-2-91 | MANHOLE (TYPE J-8) (<10') | EA | 2 | 0 | 0
425-2-92 | MANHOLE (TYPE J-8) (>10') | EA | 3 | 0 | 0
425-5 | ADJUST MANHOLE (STORM DRAIN) | EA | 2 | 0 | 0
430-175-115 | PIPE CULVERT OPTIONAL MATERIAL (15" RCP) | LF | 34 | 0 | 0
430-175-118 | PIPE CULVERT OPTIONAL MATERIAL (18" RCP) | LF | 2857 | 0 | 0
430-175-124 | PIPE CULVERT OPTIONAL MATERIAL (24" RCP) | LF | 1695 | 0 | 0
430-175-130 | PIPE CULVERT OPTIONAL MATERIAL (30" RCP) | LF | 475 | 0 | 0
430-175-136 | PIPE CULVERT OPTIONAL MATERIAL (36" RCP) | LF | 1327 | 0 | 0
430-175-142 | PIPE CULVERT OPTIONAL MATERIAL (42" RCP) | LF | 293 | 0 | 0
430-175-148 | PIPE CULVERT OPTIONAL MATERIAL (48" RCP) | LF | 9 | 0 | 0
430-175-218 | PIPE CULVERT OPTIONAL MATERIAL (14"x23" ERCP) | LF | 29 | 0 | 0
430-175-224 | PIPE CULVERT OPTIONAL MATERIAL (19"x30" ERCP) | LF | 22 | 0 | 0
430-175-230 | PIPE CULVERT OPTIONAL MATERIAL (24"x38" ERCP) | LF | 11 | 0 | 0
430-518-102 | STRAIGHT CONCRETE ENDWALL (14"x23") | EA | 1 | 0 | 0
430-530-102 | STRAIGHT CONCRETE ENDWALL (24"x38") | EA | 1 | 0 | 0
430-982-123 | MITERED END SECTION (15") CD | EA | 2 | 0 | 0
430-982-125 | MITERED END SECTION (18") CD | EA | 7 | 0 | 0
430-982-129 | MITERED END SECTION (24") CD | EA | 3 | 0 | 0
430-982-133 | MITERED END SECTION (30") CD | EA | 1 | 0 | 0
430-982-138 | MITERED END SECTION (36") CD | EA | 2 | 0 | 0
430-984-629 | MITERED END SECTION (19"x30") SD | EA | 2 | 0 | 0
515-1-2 | PIPE HANDRAIL - GUIDERAIL, ALUMINUM | LF | 112 | 0 | 0
520-1-10 | CONCRETE CURB AND GUTTER (TYPE F) | LF | 13973 | 0 | 0
520-2-4 | CONCRETE CURB (TYPE D) | LF | 237 | 0 | 0
520-2-8 | CONCRETE CURB AND GUTTER (TYPE RA) | LF | 305 | 0 | 0
520-5-41 | CONCRETE TRAFFIC SEPARATOR (TYPE IV) | LF | 274 | 0 | 0
520-70 | CONCRETE TRAFFIC SEPARATOR VARIABLE WIDTH | SY | 785 | 0 | 0
522-2 | CONCRETE SIDEWALK, MULTI-USE PATHS & DRIVEWAYS (6" THICK) | SY | 7683 | 0 | 0
523-3 | PATTERNED PAVEMENT (6" THICK CONCRETE STAMPED/ COLORED RED) | SY | 97 | 0 | 0
527-2 | DETECTABLE WARNINGS | SF | 756 | 0 | 0
530-3-4 | RIPRAP, RUBBLE, F&I DITCH LINING | TN | 5 | 0 | 0
550-10-232 | FENCING, TYPE B, 6.01'-7.0', VINYL COATING | LF | 3761 | 0 | 0
550-60-222 | FENCE GATE, TYPE B, DOUBLE, 6.1'-12.0' OPENING | EA | 2 | 0 | 0
570-1-2 | PERFORMANCE TURF, SOD (BAHIA) | SY | 56853 | 0 | 0
580-1-4 | LITTORAL PLANTINGS (MINIMUM 128 PLANTS PER 50 LF OF SHORELINE PLANTING AREA) | LF | 1510 | 0 | 0
919-528 | DIRECTIONAL INDICATORS | SF | 68 | 0 | 0
SUBTOTAL: SECTION 0003 |  |  |  |  | 0
SECTION 0004 DANIELS PKWY - ROADWAY
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
104-1 | ROLLED EROSION CONTROL PRODUCTS | SY | 655 | 0 | 0
104-10-3 | SEDIMENT BARRIER | LF | 11604 | 0 | 0
104-11 | FLOATING TURBIDITY BARRIER | LF | 1383 | 0 | 0
104-12 | STAKED TURBIDITY BARRIER | LF | 49 | 0 | 0
104-15 | SOIL TRACKING PREVENTION DEVICE | EA | 4 | 0 | 0
104-18 | INLET PROTECTION SYSTEM | EA | 20 | 0 | 0
107-1 | LITTER REMOVAL | AC | 326.57 | 0 | 0
107-2 | MOWING | AC | 326.57 | 0 | 0
110-1-1 | CLEARING AND GRUBBING | AC | 9.07 | 0 | 0
110-4-10 | REMOVAL OF EXISTING CONCRETE | SY | 2038 | 0 | 0
120-1 | EXCAVATION REGULAR | CY | 17600.3 | 0 | 0
120-6 | EMBANKMENT (ON SITE) - IN PLACE | CY | 1542.6 | 0 | 0
160-4 | TYPE B STABILIZATION (12") | SY | 12920 | 0 | 0
250-1 | WASHED SHELL MEDIAN (4") | SY | 1295 | 0 | 0
285-712 | OPTIONAL BASE, BASE GROUP 12 | SY | 10762 | 0 | 0
327-70-6 | MILLING EXIST ASPH PAVT, 1 1/2" AVG DEPTH | SY | 47284 | 0 | 0
334-1-15 | TYPE SP STRUCTURE COURSE (TRAFFIC E) (1 1/2") | TN | 6864.9 | 0 | 0
334-1-55 | TYPE SP STRUCTURE COURSE (TRAFFIC E) (1 1/2") (PG 76-22) | TN | 1171.2 | 0 | 0
337-7-88 | FRICTION COURSE FC-12.5 (TRAFFIC E) (1 1/2") (PG 76-22) | TN | 7024 | 0 | 0
425-11 | MODIFY EXISTING DRAINAGE STRUCTURE | EA | 1 | 0 | 0
425-1-351 | INLETS, CURB, TYPE P-5, <10' | EA | 8 | 0 | 0
425-1-361 | INLETS, CURB, TYPE P-6, <10' | EA | 5 | 0 | 0
425-1-571 | INLETS, DITCH BOTTOM, TYPE G, <10' | EA | 2 | 0 | 0
425-2-43 | MANHOLE, P-7, PARTIAL | EA | 1 | 0 | 0
425-3-041 | JUNCTION BOX, DRAINAGE, P-7, <10' | EA | 5 | 0 | 0
425-5 | ADJUST MANHOLE | EA | 8 | 0 | 0
430-000 | L-SHAPED CONCRETE ENDWALL - MODIFIED | EA | 1 | 0 | 0
430-174-218 | PIPE CULVERT, OPTIONAL MATERIAL, OTHER SHAPE-ELLIP/ARCH, 18" SD | LF | 87 | 0 | 0
430-174-230 | PIPE CULVERT, OPTIONAL MATERIAL, OTHER SHAPE-ELLIP/ARCH, 30" SD | LF | 14 | 0 | 0
430-175-112 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND 12"SD | LF | 37 | 0 | 0
430-175-118 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND 18"SD | LF | 691 | 0 | 0
430-175-130 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND 30"SD | LF | 492 | 0 | 0
430-518-102 | STRAIGHT CONCRETE ENDWALLS, 18", SINGLE, 0 DEGREES, ELLIPTICAL | EA | 1 | 0 | 0
430-530-100 | STRAIGHT CONCRETE ENDWALLS, 30", SINGLE, 0 DEGREES, ROUND | EA | 1 | 0 | 0
430-982-133 | MITERED END SECTION, OPTIONAL ROUND, 30" CD | EA | 3 | 0 | 0
436-1-1 | TRENCH DRAIN, STANDARD - 10" LOCKING GRATE | LF | 908 | 0 | 0
520-1-7 | CONCRETE CURB AND GUTTER (TYPE E) | LF | 6804 | 0 | 0
520-1-10 | CONCRETE CURB AND GUTTER (TYPE F) | LF | 1783 | 0 | 0
520-2-4 | CONCRETE CURB, TYPE D | LF | 103 | 0 | 0
520-5-41 | TRAFFIC SEPARATOR CONCRETE- TYPE IV, 4' WIDE | LF | 76 | 0 | 0
521-1-14 | MEDIAN CONCRETE BARRIER, VARIABLE SECTION WIDTH FOR SIGN OR PIER SHIELDING | LF | 40 | 0 | 0
522-2 | CONCRETE SIDEWALK AND DRIVEWAYS, 6" THICK | SY | 3456 | 0 | 0
527-2 | DETECTABLE WARNINGS | SF | 501 | 0 | 0
530-3-4 | RIPRAP-RUBBLE (NOT FOR LANDSCAPE) | TN | 2 | 0 | 0
544-2-1 | CRASH CUSHION, TL-2, NARROW | EA | 4 | 0 | 0
550-10-210 | TYPE B FENCE | LF | 920 | 0 | 0
550-60-232 | CANTILEVER SLIDE GATE - TYPE B FENCE | EA | 1 | 0 | 0
570-1-2 | PERFORMANCE TURF, SOD | SY | 307 | 0 | 0
580-1-4 | LITTORAL PLANTINGS (MINIMUM 128 PLANTS PER 50 LF OF SHORELINE PLANTING AREA) | LF | 920 | 0 | 0
590-70-5 | IRRIGATION SYSTEM - MODIFY EXISTING SYSTEM | LS | 1 | 0 | 0
630-2-100 | CONDUIT, RELOCATE CONDUIT WITH FIBER/WIRE REMAINING OPERATIONAL | LF | 100 | 0 | 0
1080-21-500 | UTILITY FIXTURE, VALVE/METER BOX, ADJUST | EA | 20 | 0 | 0
SUBTOTAL: SECTION 0004 |  |  |  |  | 0
SECTION 0005 THREE OAKS PHASE 1 + THREE OAKS PKWY (ALICO RD TO PHASE 1) - OVERLAY + MILL & OVERLAY
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
104-18 | INLET PROTECTION SYSTEM | EA | 130 | 0 | 0
104-100 | NPDES POLLUTION CONTROL | LS | 1 | 0 | 0
327-70-6 | MILLING EXIST ASPH PAVEMENT (1.5" AVG DEPTH) | SY | 74131 | 0 | 0
337-7-83 | SUPERPAVE ASPHALTIC CONCRETE, TRAFFIC C, FC-12.5,PG 76-22 (1.5") | TN | 12632.6 | 0 | 0
1050-18-002 | UTILITY PIPE, PLUG (3" DRAIN PIPE AT P5-P6 INLETS PHASE I) | EA | 66 | 0 | 0
SUBTOTAL: SECTION 0005 |  |  |  |  | 0
SECTION 0006 THREE OAKS PKWY PHASE 2- SIGNING & PAVEMENT MARKING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
700-1-1 | SINGLE POST SIGN, F&I, GROUND MOUNT, UP TO 12 SF | AS | 42 | 0 | 0
700-1-112 | SINGLE POST SIGN, F&I, GROUND MOUNT, 12-20 SF | AS | 4 | 0 | 0
700-1-113 | SINGLE POST SIGN, F&I, GROUND MOUNT, 20.1-30 SF | AS | 0 | 0 | 0
700-1-600 | SINGLE POST SIGN ASSEMBLY, REMOVE | AS | 9 | 0 | 0
700-2-114 | MULTI-COLUMN SIGN, GROUND MOUNT, 30.1-50 SF | AS | 1 | 0 | 0
705-10-1 | OBJECT MARKER, TYPE 1 | EA | 7 | 0 | 0
705-10-4 | OBJECT MARKER, TYPE 4 | EA | 10 | 0 | 0
706-1-3 | RAISED PAVEMENT MARKER, TYPE B | EA | 629 | 0 | 0
710-11-290 | PAINT, STD., YELLOW, ISLAND NOSE | SF | 50 | 0 | 0
711-11-123 | THERMO., STD., WHITE, SOLID, 12" FOR CROSSWALK | LF | 1639 | 0 | 0
711-11-124 | THERMO., STD., WHITE, SOLID, 18" FOR DIAGONALS AND CHEVRONS | LF | 228 | 0 | 0
711-11-125 | THERMO., STD., WHITE, SOLID, 24" FOR STOP LINE | LF | 990 | 0 | 0
711-11-141 | THERMO., STD., WHITE, GUIDE LINE, 6" (2/4) | GM | 0.35 | 0 | 0
711-11-160 | THERMO., STD., MESSAGE OR SYMBOL | EA | 12 | 0 | 0
711-11-170 | THERMO., STD., ARROWS | EA | 49 | 0 | 0
711-11-224 | THERMO., STD., YELLOW, SOLID, 18" FOR DIAGONAL OR CHEVRONS | LF | 311 | 0 | 0
711-14-160 | THERMO., PREFORMED, MESSAGE OR SYMBOL (BIKE) | EA | 17 | 0 | 0
711-14-170 | THERMO., PREFORMED, ARROWS (BIKE THRU) | EA | 17 | 0 | 0
711-16-101 | THERMO., STD., OTHER SURFACES, WHITE, SOLID, 6" | GM | 2.316 | 0 | 0
711-16-131 | THERMO., STD., OTHER SURFACES, WHITE, SKIP, 6" (10/30) | GM | 0.718 | 0 | 0
711-16-201 | THERMO., STD., OTHER SURFACES, YELLOW, SOLID, 6" | GM | 1.995 | 0 | 0
711-16-202 | THERMO., STD., OTHER SURFACES, YELLOW, SOLID, 8" | GM | 0.069 | 0 | 0
711-16-241 | THERMO., STD., YELLOW, GUIDE LINE, 6" (2/4) | GM | 0.017 | 0 | 0
SUBTOTAL: SECTION 0006 |  |  |  |  | 0
SECTION 0007 THREE OAKS PHASE 1 + THREE OAKS PKWY (ALICO RD TO PHASE 1) - SIGNING & PAVEMENT MARKING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
700-1-111 | SINGLE POST SIGN, F&I, GROUND MOUNT, UP TO 12 SF | AS | 42 | 0 | 0
700-1-600 | SINGLE POST SIGN ASSEMBLY, REMOVE | AS | 56 | 0 | 0
705-10-1 | OBJECT MARKER, TYPE 1 | EA | 13 | 0 | 0
706-1-3 | RAISED PAVEMENT MARKER, TYPE B | EA | 1819 | 0 | 0
710-11-290 | PAINT, STD., YELLOW, ISLAND NOSE | SF | 70 | 0 | 0
710-90 | PAINTED PAVEMENT MARKINGS, FINAL SURFACE | LS | 1 | 0 | 0
711-11-123 | THERMO., STD., WHITE, SOLID, 12" FOR CROSSWALK | LF | 2025 | 0 | 0
711-11-124 | THERMO., STD., WHITE, SOLID, 18" FOR DIAGONALS AND CHEVRONS | LF | 1149 | 0 | 0
711-11-125 | THERMO., STD., WHITE, SOLID, 24" FOR STOP LINE | LF | 60 | 0 | 0
711-11-141 | THERMO., STD., WHITE, GUIDE LINE, 6" (2/4) | GM | 0.44 | 0 | 0
711-11-160 | THERMO., STD., MESSAGE OR SYMBOL | EA | 4 | 0 | 0
711-11-170 | THERMO., STD., ARROWS | EA | 105 | 0 | 0
711-14-160 | THERMO., PREFORMED, MESSAGE OR SYMBOL (BIKE) | EA | 67 | 0 | 0
711-14-170 | THERMO., PREFORMED, ARROWS (BIKE THRU) | EA | 67 | 0 | 0
711-16-101 | THERMO., STD., OTHER SURFACES, WHITE, SOLID, 6" | GM | 10.039 | 0 | 0
711-16-131 | THERMO., STD., OTHER SURFACES, WHITE, SKIP, 6" (10/30) | GM | 6.58 | 0 | 0
711-16-201 | THERMO., STD., OTHER SURFACES, YELLOW, SOLID, 6" | GM | 6.657 | 0 | 0
SUBTOTAL: SECTION 0007 |  |  |  |  | 0
SECTION 0008 DANIELS PKWY- SIGNING & PAVEMENT MARKING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
700-1-111 | SINGLE POST SIGN, F&I, GROUND MOUNT, UP TO 12 SF | AS | 36 | 0 | 0
700-1-112 | SINGLE POST SIGN, F&I, GROUND MOUNT, 12-20 SF | AS | 3 | 0 | 0
700-1-500 | SINGLE POST SIGN, RELOCATE | AS | 5 | 0 | 0
700-1-600 | SINGLE POST SIGN, REMOVE | AS | 39 | 0 | 0
700-2-114 | MULTI-COLUMN GROUND SIGN ASSEMBLY, F&I GROUND MOUNT, 31-50 SF | AS | 2 | 0 | 0
700-2-500 | MULTI- POST SIGN, GROUND MOUNT, RELOCATE | AS | 1 | 0 | 0
700-2-600 | MULTI- POST SIGN, GROUND MOUNT, REMOVE | AS | 2 | 0 | 0
705-10-1 | OBJECT MARKER, TYPE 1 | EA | 9 | 0 | 0
706-1-3 | RAISED PAVEMENT MARKER, TYPE B | EA | 1082 | 0 | 0
710-90 | PAINTED PAVEMENT MARKINGS, FINAL SURFACE | LS | 1 | 0 | 0
710-11-290 | PAINTED PAVEMENT MARKINGS, STANDARD, YELLOW, ISLAND NOSE | SF | 73 | 0 | 0
711-11-123 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 12" FOR CROSSWALK AND ROUNDABOUT | LF | 3250 | 0 | 0
711-11-124 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 18" FOR DIAGONALS AND CHEVRONS | LF | 33 | 0 | 0
711-11-125 | THERMOPLASTIC, STANDARD, WHITE, SOLID, 24" FOR STOP LINE AND CROSSWALK | LF | 761 | 0 | 0
711-11-141 | THERMOPLASTIC, STANDARD, WHITE, 2-4 DOTTED GUIDELINE/ 6-10 GAP EXTENSION, 6" | GM | 0.31 | 0 | 0
711-11-160 | THERMOPLASTIC, STANDARD, WHITE, MESSAGE OR SYMBOL | EA | 4 | 0 | 0
711-11-170 | THERMOPLASTIC, STANDARD, WHITE, ARROW | EA | 71 | 0 | 0
711-11-224 | THERMOPLASTIC, STANDARD, YELLOW, SOLID, 18" FOR DIAGONAL OR CHEVRON | LF | 87 | 0 | 0
711-11-241 | THERMOPLASTIC, STANDARD, YELLOW, 2-4 DOTTED GUIDE LINE /6-10 DOTTED EXTENSION LINE, 6" | GM | 0.019 | 0 | 0
711-14-125 | THERMOPLASTIC, PREFORMED, WHITE, SOLID, 24" FOR CROSSWALK | LF | 1369 | 0 | 0
711-14-160 | THERMOPLASTIC, PREFORMED, WHITE, MESSAGE (BIKE) | EA | 19 | 0 | 0
711-14-170 | THERMOPLASTIC, PREFORMED, WHITE, ARROW (BIKE THRU) | EA | 19 | 0 | 0
711-16-101 | THERMOPLASTIC, STANDARD-OTHER SURFACES, WHITE, SOLID, 6" | GM | 3.532 | 0 | 0
711-16-131 | THERMOPLASTIC, STANDARD-OTHER SURFACES, WHITE, SKIP, 6",10-30 SKIP OR 3-9 LANE DROP | GM | 2.773 | 0 | 0
711-16-133 | THERMOPLASTIC, STANDARD-OTHER SURFACES, WHITE, SKIP, 12", 3-9 LANE DROP | GM | 0.035 | 0 | 0
711-16-201 | THERMOPLASTIC, STANDARD-OTHER SURFACES, YELLOW, SOLID, 6" | GM | 1.346 | 0 | 0
SUBTOTAL: SECTION 0008 |  |  |  |  | 0
SECTION 0009 THREE OAKS PKWY PHASE 2- UTILITY ADJUSTMENT
Item | Description | Unit of Measure | Estimated Quantity | 0 | Extended Amount
1 | ABANDONMENT OF EXISTING 16" DI WATERMAIN | LF | 1680 | 0 | 0
2 | ABANDONMENT OF EXISTING 10", 8", & 6" PVC WATERMAIN | LF | 230 | 0 | 0
3 | 16" CL 52 D.I. PIPE WITH DOUBLE CEMENT LINING | LF | 1920 | 0 | 0
4 | 10" DR14 PVC WATER MAIN | LF | 55 | 0 | 0
5 | 30" x 0.312" WALL STEEL CASING PIPE | LF | 378 | 0 | 0
6 | 20" x 0.250" WALL STEEL CASING PIPE | LF | 45 | 0 | 0
7 | 16"x16" TAPPING SLEEVE W/ 16" GATE VALVE | EA | 6 | 0 | 0
8 | 16" GATE VALVE | EA | 1 | 0 | 0
9 | 10" GATE VALVE | EA | 1 | 0 | 0
10 | 8" GATE VALVE | EA | 1 | 0 | 0
11 | 6" GATE VALVE | EA | 1 | 0 | 0
12 | 16" x 2" TAPPING SADDLE W/ 2" G.V. | EA | 2 | 0 | 0
13 | 2" WATER SERVICE CONNECTION | EA | 2 | 0 | 0
14 | METER BOX (WATER SERVICE) | EA | 2 | 0 | 0
15 | 2" CROSS CONTROL ASSEMBLY | EA | 2 | 0 | 0
16 | 16" LINE STOP | EA | 6 | 0 | 0
17 | 16" RESTRAINED CAP | EA | 6 | 0 | 0
18 | 10" LINE STOP | EA | 2 | 0 | 0
19 | FIRE HYDRANT ASSEMBLY | EA | 1 | 0 | 0
20 | CONNECT TO EXISTING 10" WATERMAIN | EA | 2 | 0 | 0
21 | CONNECT TO EXISTING 8" WATER MAIN | EA | 1 | 0 | 0
22 | CONNECT TO EXISTING 6" WATER MAIN | EA | 1 | 0 | 0
23 | BACTERIAL SAMPLE POINT | EA | 6 | 0 | 0
24 | 8" DR14 PVC SEWER FORCEMAIN | LF | 92 | 0 | 0
25 | 4" DR14 PVC SEWER FORCEMAIN | LF | 25 | 0 | 0
26 | 4" PLUG VALVE | EA | 1 | 0 | 0
27 | CONNECT TO EXISTING 8" SEWER FORCEMAIN | EA | 6 | 0 | 0
28 | CONNECT TO EXISTING 4" SEWER FORCEMAIN | EA | 1 | 0 | 0
29 | SEWAGE PUMP TRUCK (MINIMUM 4,000 GALLONS CAPACITY PER TRUCK) | EA | 3 | 0 | 0
30 | PAVEMENT, STRIPING AND TRENCH RESTORATION | SY | 135 | 0 | 0
SUBTOTAL: SECTION 0009 |  |  |  |  | 0
SECTION 0010 DANIELS PKWY - UTILITY ADJUSTMENT
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
1 | Variable Message Boards (2 Locations) | 70 | WKS | 0 | 0
2 | Furnish and Install Water Main Pipelines
2a | 8" DIP | LF | 458 | 0 | 0
2b | 10" PVC DR18 | LF | 25 | 0 | 0
2c | 30" DIP | LF | 2856 | 0 | 0
3 | 30" Tapping Sleeve and Valve | EA | 2 | 0 | 0
4 | 30" Linestop | EA | 2 | 0 | 0
5 | 8" Tapping Sleeve and Valve | EA | 2 | 0 | 0
6 | 30" WM Connection on Danport | EA | 1 | 0 | 0
7 | 30" WM Connection on Palomino | EA | 1 | 0 | 0
8 | Connect to Existing:
8a | 10" WM | EA | 2 | 0 | 0
8b | 8" WM | EA | 1 | 0 | 0
9 | Abandon and Remove Water Main:
9a | 30" WM | LF | 1385 | 0 | 0
9b | 10" WM | LF | 110 | 0 | 0
9c | 8" WM | LF | 9 | 0 | 0
10 | Water Main Deflection along Danport across Marketplace | EA | 1 | 0 | 0
11 | 10" Water Main Deflection near STA 16+25 | EA | 1 | 0 | 0
12 | Adjust existing valve tops | EA | 3 | 0 | 0
13 | Additional Restraints for Existing 30" Water Main | EA | 30 | 0 | 0
14 | Roadway Restoration (Mill and Overlay) | SY | 9834 | 0 | 0
15 | Roadway Trench Restoration (Building road cross section with Temp Asphalt) | SY | 1536 | 0 | 0
16 | Curb and Gutter | LF | 2487 | 0 | 0
17 | Sod | SY | 3118 | 0 | 0
18 | Concrete Driveway | SY | 134 | 0 | 0
19 | Asphalt Sidewalk | SY | 100 | 0 | 0
20 | Concrete Sidewalk | SY | 87 | 0 | 0
21 | Tree Trimming | LS | 1 | 0 | 0
22 | Replacement of Shrubs/Bushes along Mall Loop Road | LS | 1 | 0 | 0
23 | Removal and Replacement of 18"x12" ERCP and 2 MES | LS | 1 | 0 | 0
SUBTOTAL: SECTION 0010 |  |  |  |  | 0
SECTION 0011 - THREE OAKS PKWY PHASE 1 & 2- LANDSCAPE
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
CANOPY TREES & LARGE PALMS:
1 | Bucida buceras "Shady Lady" - Black Olive "Shady Lady"- 10' ht, 4' spr, 2" cal, 4' ct | EA | 47 | 0 | 0
2 | Quercus virginiana - Live Oak - 10' ht, 4' spr, 2" cal, 4' ct | EA | 31 | 0 | 0
3 | Phoenix sylvestris - Sylvester Date Palm - 4-5' ct, full head, heavy trunk, diamond cut, certified pest-free | EA | 1 | 0 | 0
4 | Phoenix sylvestris - Sylvester Date Palm - 8-10' ct, full head, heavy trunk, diamond cut, certified pest-free | EA | 21 | 0 | 0
5 | Phoenix sylvestris - Sylvester Date Palm - 15-16' ct, full head, heavy trunk, diamond cut, certified pest-free | EA | 1 | 0 | 0
6 | Roystonea elata - Royal Palm - 5-6' gw, full head, heavy trunk | EA | 54 | 0 | 0
7 | Sabal palmetto - Cabbage Palm - 15'-25' oa ht, staggered heights, clean trunks | EA | 117 | 0 | 0
FLOWERING TREES & UNDERSTORY ACCENTS:
8 | Conocarpus erectus "sericeus" - Silver Buttonwood - 25 gal, 6-8' ht, multi-stem treeform, full | EA | 39 | 0 | 0
9 | Coccoloba diversifolia - Pigeon Plum - 10' ht, 4' spr, 2" cal, 4' ct | EA | 34 | 0 | 0
10 | Jatropha integerrima - Jatropha - 25 gal, 6-8' ht, multi-stem, full | EA | 54 | 0 | 0
11 | Peltophorum dubium - Yellow Poinciana - 10' ht, 4' spr, 2" cal, 4' ct | EA | 24 | 0 | 0
12 | Tabebuia impetiginosa - Purple Tabebuia - 10' ht, 4' spr, 2" cal, 4' ct | EA | 36 | 0 | 0
13 | Tibouchina granulosa - Purple Glory Tree - 25 gal, 6-7' ht, standard, full | EA | 54 | 0 | 0
14 | Thrinax morrisii - Key Thatch Palm (Silver) - 25 gal, 4-5' ht, 3' spr, dbl trunk, full | EA | 98 | 0 | 0
SHRUBS:
15 | Hamelia patens "compacta" - Compact Firebush - 3 gal, 18" ht x 18" spr, full, 4' o.c. | EA | 36 | 0 | 0
16 | Serenoa repens "Cinerea" - Silver Saw Palmetto - 7 gal, 30" ht x 30" spr, full, 5' o.c. | EA | 7 | 0 | 0
MISCELLANEOUS:
17 | Paspalum notatum - Bahia Sod - Solid sod, free of weeds & pests, sand-grown, laid & rolled. | SQ FT | 202500 | 0 | 0
18 | Soil Amendments - Organic Soil Amendment - Provide soil amendments at the rate of 6 cu. Ft. per tree when backfilling. | CU YD | 137 | 0 | 0
19 | Crushed Shell - Crushed Shell, 1/2" Minus, Washed - Provide 4" compacted depth, over grey Mirafi weed filter cloth 3,518 sf | SQ YD | 390 | 0 | 0
20 | Pine Bark Nuggets - Pine Bark Nuggets - 3" depth, all planting bed areas and tree rings. 2 CF bags. 23,000 sf beds, 4,830 sf tree rings | BAG | 3480 | 0 | 0
21 | Provide landscape and sodding maintenance during construction period until final acceptance | LS | 1 | 0 | 0
22 | Provide landscape and sodding maintenance per Lee County specifications for a twelve (12) month period following final acceptance | LS | 1 | 0 | 0
SUBTOTAL: SECTION 0011 |  |  |  |  | 0
SECTION 0012 - THREE OAKS PKWY PHASE 1 & 2- IRRIGATION
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
1 | Irrigation Water Source: Lakeside draw 10 HP VFD pump station w/ automated filtration, self-cleaning intake screen, protective fiberglass enclosure. | LS | 1 | 0 | 0
2 | Irrigation Controller: HUNTER ACC2-D, Decoder 75 stations decoder controller, no expansion modules. Wall mount unit, provide to PS manufacturer to incorporate. | LS | 1 | 0 | 0
3 | Irrigation Controller Control Wiring: Hunter ID-1 Decoder 14/2 control wire, AWG 14 Gauge jacketed wire, suitable for direct burial applications. | LF | 17750 | 0 | 0
4 | Surge Protector, install with Paige 182199IC Ground Plate, 4" x8' solid copper with 25' 6 AWG Green wire, 8' ground rod and Cadweld "One shot". | EA | 21 | 0 | 0
5 | Irrigation Pump Station Pad Preparation: Site preparation to accommodate pump station concrete pad. Include, clearing, removing debris, and grading as needed. | LS | 1 | 0 | 0
6 | Irrigation Pump Station & Controller Electric Service: Provide 3-Phase & single phase electric phase as available to pump station and controller. Include labor, materials, services, and all other items necessary for proper working order. | LS | 1 | 0 | 0
7 | 3" 1120-1220 Class 200 PVC gasket pipe irrigation main line with DIP & SCH 40 PVC fittings, solvent weld, Pantone Purple 522C, 36" Depth. | LF | 14560 | 0 | 0
8 | 2-1/2" 1120-1220 Class 200 PVC solvent-weld bell end connections pipe irrigation submain with SCH 40 PVC fittings, Pantone Purple 522C, 24" Depth. | LF | 1560 | 0 | 0
9 | Lateral Lines, 1120-1220 Class 200 PVC irrigation lines, 1" - 1-1/4", 12" depth. | LF | 16120 | 0 | 0
10 | Irrigation Sleeves: 6" SCH 80 PVC Conduit in accordance to national, state. And local codes for paved surface sleeving applications. For 3" main. | LF | 94 | 0 | 0
11 | Irrigation Sleeves: 4" SCH 80 PVC Conduit in accordance to national, state. And local codes for paved surface sleeving applications. For 4" main & multiple laterals. | LF | 450 | 0 | 0
12 | Irrigation Sleeves: 2" SCH 40 PVC Conduit in accordance to national, state. And local codes for paved surface sleeving applications. For control wires. | LF | 317 | 0 | 0
13 | Irrigation Main & Submain Double Valves Blow Off Assembly: (1) line-sized cast iron valve, flanged connections; SCH 80 PVC interconnecting fittings; (1) 1-1/4" Matco 514 series threaded connections valve. Include: valve box as specified per detail; Filter fabric & gravel. Refer to installation detail & assembies schematics. | EA | 2 | 0 | 0
14 | Irrigation Main & Submain Single Valve Blow Off Assembly: (1) 1-1/4" MATCO 514 Series threaded connections valve. Include: valve box as specified per detail; Filter fabric & gravel. Refer to installation detail & assembies schematics. | EA | 8 | 0 | 0
15 | Irrigation main Isolation Valves: 3" Cast iron body w/ non-rising stem, w/ square nut isolation gate valve with flanged connections. | EA | 12 | 0 | 0
16 | Irrigation Submain Isolation Valves: 2" Cast iron body w/ non-rising stem, w/ square nut isolation gate valve with flanged connections. | EA | 3 | 0 | 0
17 | Electric Solenoid Zone Control Valves: Hunter ICV-101G 1" electric solenoid valves suitable for industrial quality, dirty water applications, w/ inlet sized SCH 80 PVC isolation valve. Include one 1-station decoder per valve, HUNTER ACC2 decoders. Install within a 14"x19"x12" Carson valve box. 1-Station decoders quantity, 41. | EA | 39 | 0 | 0
18 | Two Station Decoder at Cul d Sac - HUNTER ACC2, two stations decoder. | EA | 9 | 0 | 0
19 | 6" High Pop-Up Spray Body Hydrant w/ MSRN: Hunter Pros-06 with MP Rotator multi-stream rotating nozzle. | EA | 8 | 0 | 0
20 | Bubbler hydrants for trees and palms - Two-Bubblers Assembly: Hunter/Rainbird SR shrub riser nozzle adapter w/ two pressure compensating fix flow bubbler nozzle. Refer to schematic layout details for nozzle volumes and trees/palms designated for TBA. | EA | 408 | 0 | 0
21 | Bubbler hydrants for small trees and palms - One-Bubbler Assembly: Hunter/Rainbird SR shrub riser nozzle adapter w/ one pressure compensating fix flow bubbler nozzle. Refer to schematic layout details for nozzle volumes and trees/palms designated for TBA. | EA | 274 | 0 | 0
22 | Provide irrigiation maintenance during construction period until final acceptance | LS | 1 | 0 | 0
23 | Provide irrigiation maintenance per Lee Couty specifications for a twelve (12) month period following final acceptance | LS | 1 | 0 | 0
SUBTOTAL: SECTION 0012 |  |  |  |  | 0
SECTION 000A - THREE OAKS PKWY EXT - PHASE 2 - PUBLIX RIGHT TURN LANE ALTERNATIVE
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
ROADWAY ITEMS:
160-4 | STABILIZATION TYPE B (12") | SY | 848 | 0 | 0
285-709 | OPTIONAL BASE (BASE GROUP #09) | SY | 848 | 0 | 0
334-1-13 | SUPERPAVE ASPHALTIC CONCRETE, TYPE SP-12.5 (2.5") | TN | 116.6 | 0 | 0
337-7-82 | SUPERPAVE ASPHALTIC CONCRETE, TRAFFIC C, FC-12.5, PG 76-22 (1.5") | TN | 69.96 | 0 | 0
SIGNING & STRIPING ITEMS:
700-1-111 | SINGLE POST SIGN, F&I, GROUND MOUNT, UP TO 12 SF | AS | 1 | 0 | 0
700-1-112 | SINGLE POST SIGN, F&I, GROUND MOUNT, 12-20 SF | AS | 1 | 0 | 0
706-1-3 | RAISED PAVEMENT MARKER, TYPE B | EA | 16 | 0 | 0
711-11-123 | THERMO., STD., WHITE, SOLID, 12" FOR CROSSWALK | LF | 135 | 0 | 0
711-11-125 | THERMO., STD., WHITE, SOLID, 24" FOR STOP LINE | LF | 20 | 0 | 0
711-11-141 | THERMO., STD., WHITE, GUIDE LINE, 6" (2/4) | GM | 0.016 | 0 | 0
711-11-170 | THERMO., STD., ARROWS | EA | 2 | 0 | 0
711-14-160 | THERMO., PREFORMED, MESSAGE OR SYMBOL (BIKE) | EA | 1 | 0 | 0
711-14-170 | THERMO., PREFORMED, ARROWS (BIKE THRU) | EA | 1 | 0 | 0
711-16-101 | THERMO., STD., OTHER SURFACES, WHITE, SOLID, 6" | GM | 0.064 | 0 | 0
SUBTOTAL: SECTION 000A |  |  |  |  | 0
SECTION 000A - THREE OAKS PKWY EXT - PHASE 2 - PUBLIX LEFT TURN LANE ALTERNATIVE
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
ROADWAY ITEMS:
160-4 | STABILIZATION TYPE B (12") | SY | 656 | 0 | 0
285-709 | OPTIONAL BASE (BASE GROUP #09) | SY | 656 | 0 | 0
334-1-13 | SUPERPAVE ASPHALTIC CONCRETE, TYPE SP-12.5 (2.5") | TN | 90.2 | 0 | 0
337-7-82 | SUPERPAVE ASPHALTIC CONCRETE, TRAFFIC C, FC-12.5, PG 76-22 (1.5") | TN | 54.12 | 0 | 0
SIGNING & STRIPING ITEMS:
700-1-111 | SINGLE POST SIGN, F&I, GROUND MOUNT, UP TO 12 SF | AS | 2 | 0 | 0
705-10-1 | OBJECT MARKER, TYPE 1 | EA | 2 | 0 | 0
706-1-3 | RAISED PAVEMENT MARKER, TYPE B | EA | 66 | 0 | 0
710 11-290 | PAINT, STD., YELLOW, ISLAND NOSE | SF | 27 | 0 | 0
711-11-141 | THERMO., STD., WHITE, GUIDE LINE, 6" (2/4) | GM | 0.016 | 0 | 0
711-11-170 | THERMO., STD., ARROWS | EA | 5 | 0 | 0
711-16-101 | THERMO., STD., OTHER SURFACES, WHITE, SOLID, 6" | GM | 0.072 | 0 | 0
SUBTOTAL: SECTION 000A |  |  |  |  | 0
BID SUMMARY
PROJECT TOTAL |  |  |  | 0
**Quantities are not guaranteed. Final payment will be based on actual quantities.
PROJECT TOTAL:
(Use Words to Write Total)